**Instructions—Astral Ventilator**

* Press the green button on the back side of the device to power it on
* Press and hold the “lock” icon in the upper left hand corner of the screen till the sub menu opens up and select either 20 minutes or unlimited to access the clinical mode of the device
* The device is pre-loaded with 4 programs: Programs 1&2 are Adult modes and programs 3&4 are Pediatric modes. There is one invasive and one non-invasive mode for each patient type
* Select programs tab from the left side of the screen and choose the program you wish to modify settings for. Edit the settings using the touch screen. Alarm settings have been pre-loaded to expedite the setup process but can also be edited as well
* To start ventilation press the “Start Vent” button in the lower center of the screen

View these short videos on ResMed Astral™ life support ventilators for instructions on:

Completing setup, Navigating the information bar, Starting and stopping ventilation, Setting up alarms and Performing a learn circuit

Watch and learn at: **ResMed.com/AstralVideos** or on YouTube™ at: **bit.ly/Astral-YouTube-videos**

**For additional support contact Brian Pyle of ResMed at (951) 419-9639**